SR1 Series
Heatsink separated Type SSR
Single phase, Heatsink separated type SSR
(A)
Photo
electric
sensor
 Features
(B)
Fiber
● Increase user convenience with general and
optic
   small design
● Superior dielectric strength : 4,000VAC
(C)
Door/Area
● Improved reliability by maximizing heat
   protection efficiency with ceramic board
(D)
● Supports Zero cross turn-on/Random turn-on type
Proximity
● Checks input status by Input LED(green)
(E)
Pressure
Please read “Caution for your safety” in operation
manual before using.
(F)
Rotary
encoder
 Ordering information
(G)
Connector/
SR
1
-
1
4
20
R
Socket
(H)
N
Zero cross turn-on
Function
Temp.
controller
R
Random turn-on
15
15A
(I)
SSR/
Rated load current
25
25A
Power
(resistive load)
40
40A
50
50A
(J)
Counter
75
75A
Load voltage(rated)
2
24-240VAC
(K)
4
48-480VAC
Timer
Input voltage(rated)
1
4-30VDC
4
90-240VAC
(L)
Panel
Control phase
meter
1
Single phase
Item
SRC
Solid State Relay(detachable heatsink type)
(M)
Tacho/
Speed/ Pulse
Model
Input voltage
Rated load current
Load voltage
Zero cross/Random turn-on
(N)
SR1-1215
4-30VDC
Display
15A
unit
SR1-4215
90-240VAC
SR1-1225
4-30VDC
(O)
25A
Sensor
SR1-4225
90-240VAC
SR1-1240
4-30VDC
40A
24-240VAC
(P)
SR1-4240
90-240VAC
Switching
mode power
SR1-1250
4-30VDC
supply
50A
SR1-4250
90-240VAC
(Q)
Stepper
SR1-1275
4-30VDC
motor&
75A
Driver&Controller
SR1-4275
90-240VAC
(R)
SR1-1415
Graphic/
4-30VDC
Logic
SR1-1415R
15A
panel
SR1-4415
90-240VAC
(S)
Field
SR1-1425
network
4-30VDC
device
SR1-1425R
25A
SR1-4425
90-240VAC
(T)
Software
SR1-1440
4-30VDC
SR1-1440R
40A
48-480VAC
SR1-4440
90-240VAC
(U)
Other
SR1-1450
4-30VDC
SR1-1450R
50A
SR1-4450
90-240VAC
SR1-1475
4-30VDC
SR1-1475R
75A
SR1-4475
90-240VAC
I-5
Internet:
E-mail:
 11 4425-5103
 11 98782-2296
 www.smartec-automacao.com.br
  smartec@smartec-automacao.com.br

---
 Specifications
 Input
4-30VDC input voltage
90-240VAC input voltage
Hz
Input voltage range
4-32VDC
85-264VACrms(50/60
)
Max. input current
9mA(Zero cross turn-on), 13mA(Random turn-on)
7mArms(240VACrms)
Pick-up voltage
4VDC
85VACrms
Drop-out voltage
1VDC
10VACrms
Max. 0.5 cycle of load source + 1ms
Turn-on
Max. 1.5 cycle of load source + 1ms
time
Max. 1ms
Turn-off time
Max. 0.5 cycle of load source + 1ms
Max. 1.5 cycle of load source + 1ms
 Output
24-240VAC load voltage
48-480VAC load voltage
Hz
Hz
Load voltage range(50/60Hz)
24-264VACrms(50/60
)
48-528VACrms(50/60
)
Resistive load
Rated
15Arms
25Arms
40Arms
50Arms
75Arms
15Arms
25Arms
40Arms
50Arms
75Arms
(AC-51)
load
current
Motor load
5Arms
8Arms
15Arms
℃
Ta=25
(AC-53a)
Min. load current
0.15Arms
0.2Arms
0.5Arms
0.5Arms
Max. 1cycle surge current
190A
270A
330A
1000A
300A
500A
1000A
(60Hz)
Max. non-repetitive
150A
S
300A
S
500A
S
4000A
S
350A
S
1000A
S
4000A
S
surgecurrent(I
t, t=8.3ms)
Peak voltage(non-repetitive)
600V
1200V(zero cross turn-on), 1000V(random turn-on)
Leakage current(Ta=25
)
Max. 10mArms
Output on voltage drop[Vpk]
Max. 1.6V
(Max. load current)
㎲
Static off-state dv/dt
500V/
※
 For controlling motor load, use the product which load voltage range is within 48-480VACrms.
 General Specifications
Certification
UL508, CSA22.2 No.14 and IEC/EN 60947-4-3
Dielectric strength(Vrms)
4000VAC 50/60Hz 1min.(input-output, input/output-case)
Insulation resistance
Min. 100MΩ(at 500VDC megger)
Input LED
Green
-30 to 80
, storage: -30 to 100
(Rated load current capacity is different based on the surrounding
Ambient
Environ
temperature
temperature. Refer to '
SSR Derating curve'.)
-ment
Ambient humidity
45 to 85%RH, storage: 45 to 85%RH
Input terminal connection
Min. 1×0.5mm
(1×AWG20) Max. 1×1.5mm
(1×AWG16) or 2×1.5mm
(2×AWG16)
Output terminal connection
Min. 1×1.5mm
(1×AWG16) Max. 1×16mm
(1×AWG6) or 2×6mm
(2×AWG10)
.
Input terminal fixed torque
0.75 to 0.95N
m
.
Output terminal fixed torque
1.6 to 2.2N
m
Unit weight
Approx. 73g
 For wiring the terminal, an O-ring terminal must be used.
Environment resistance is rated at no freezing or condensation.
 Dimensions
(unit: mm)
 Hole cut-out for panel front mounting
2-M4×0.7 TAP
41
Ø4.5
44
28.3
Input LED(green)
.
 Fixed torque : 1.8 to 2.5N
m
4.5
I-6
47.5
58
47.5

---
 Connections
SSR module
Load
3/A1+
1/T1
+
Power supply
Load Source
Input
Output
(AC, DC)
(AC)
Rapid fuse
4/A2-
2/L1
 SSR Characteristic curve
 SR1-1215/4215
 SR1-1225/4225
30
30
With heatsink 2.5
/W
With heatsink 2.5
/W
10
10
Without heatsink
Without heatsink
6
6
5
1.5
1.5
0
0
0
10
30
60
70
80
90
0
10
30
60
70
80
90
Ambient temperature [
]
Ambient temperature [
]
 SR1-1240/4240
 SR1-1275/1475/1475R/4275/4475
With heatsink 0.5
/W
60
With heatsink 0.9
/W
16
Without heatsink
Without heatsink
7
7
1.5
1.5
0
0
10
30
60
70
80
90
10
30
60
70
80
90
0
0
Ambient temperature [
]
Ambient temperature [
]
 SR1-1415/1415R/4415
 SR1-1425/1425R/4425
30
30
With heatsink 2.0
/W
With heatsink 2.5
/W
10
10
Without heatsink
Without heatsink
8
6
6
1.5
1.5
0
0
0
10
30
60
70
80
90
0
10
30
60
70
80
90
Ambient temperature [
]
Ambient temperature [
]
 SR1-1440/1440R/4440
 SR1-1250/1450/1450R/4250/4450
60
60
With heatsink 0.9
/W
With heatsink 0.9
/W
Without heatsink
Without heatsink
6
7
1.5
1.5
0
0
0
10
30
60
70
80
90
0
10
30
60
70
80
90
Ambient temperature [
]
Ambient temperature [
]
I-7
Load current[A]
Load current[A]
Load current[A]
Load current[A]
Load current[A]
Load current[A]
Load current[A]
Load current[A]

---
 Proper usage
High temperature caution
Make sure do not touch the heat sink or the unit body while power is supplied or right after load power is
turned off. If not, it may cause a burn.
Caution for using
1. Attach a heatsink and ventilate for smooth convection current. If not, congested heat transfer may cause product failure
or malfunction.
2. For mounting multiple SSR, please keep certain installation intervals for heat prevention. For horizontal installation (when
the heights of input part and output part are equal), it is recommended to apply less than 50% of the rated load current.
3. Make sure do not touch the heatsink or the unit body while power is supplied or right after load power is turned OFF.
    If not, it may cause a burn.
4. Connect the proper cable for the rated load current with output terminal.
5. Use rapid fuse of which I
t is under 1/2 of SSR I
t in order to protect the unit from load's short- circuit current.
6. In case of a short-circuit please replace the fuse with a 1/2 of SSR I
t value specified semiconductor protective type.
7. In case that load's current is lower than SSR min. load current, connect dummy resistance to the load in parallel so as to
make load's current higher than SSR min. load current.
8. When selecting phase control with random turn-on model, install the noise filter between load and load's source.
9. Make sure that the screw on output terminal is tightly fastened. Using the unit with loose bolt may cause product failure
or malfunction.
10. Do not touch the load's terminal even if output is OFF. It may cause electric shock.
11. The signal input of the 4-30VDC model should be supplied by the insulated and limited voltage/current or by Class 2
power supply.
12. To attach the heatsink, use Thermal Grease as below or that of equal specification.
 Thermal Grease: GE TOSHIBA(YG6111), KANTO-KASEI(FLOIL G-600), SHINETSU(G746)
13. Proper application environment (Avoid following environments to install)
①
 Where temperature/humidity is beyond the specification
②
 Where dew condensation occurs due to temperature change
③
 Where inflammable or corrosive gas exists
④
 Where direct rays of light exist
⑤
 Where severe shock, vibration or dust exists
⑥
 Where near facilities generating strong magnetic forces or electric noise
14. Installation environment
①
 It shall be used indoor
②
 Altitude Max. 2,000m
③
 Pollution Degree 2
④
Ⅲ
 Installation Category
I-8